Reg. No.								           CODE: COREEE

PH. D COURSEWORK EXAMINATION, MAY 2023

SUBJECT: ELECTRICAL ENGINEERING

CORE PAPER

Time: 03 hours					                                      Max. Marks: 50

Instructions: Answer any five questions. Question 1 is compulsory and answer 4 from remaining questions. Each question carries 10 Marks.

- It is proposed to Prevent any physical or cyber intrusion into a power station/power system by using smart devices, list the types of sensors preferred and mention their roles.  What advancements have happened in the sensor technology related to the above application.	                                                                                                              (10)

- Let the two strings are 10101011 and 110010. Determine the off strings after

  - Crossover at position 3 and 			                                                 (5)

  - Mutation at point 3 for X1			                                                 (5)

- Design and develop a DC-DC transformer for an Electric Vehicle application.       (10)

- Summarize the applications of synchro phasors data used in different regions in real-time and offline system.							           (10)

- Illustrate the effect of state feedback gain by pole placement(i) Open loop state space without feedback gain (ii) Closed loop state feedback gain with control law for obtaining gain K by any one of the methods with necessary condition.	           (10)

- List the linear and nonlinear operations involved in image processing techniques that are widely applied in the power sector.					           (10)

**********