Reg. No.									                              CODE: SPH1

PH.D COURSEWORK EXAMINATION, MAY 2023

SUBJECT: CHEMISTRY

SPECIALIZATION PAPER I - CHARACTERIZATION TECHNIQUES

Time: 03 hours						                                         Maximum Marks: 50

Student Name: Ms. Masira Imtiyaz Chamanmalik

Instructions:

i)                    Section A Compulsory

ii)                  Answer any four from Section B

iii)                Each question carries 10 Marks

SECTION A

1.      Answer any two from the following questions:

a)      What are the different types of electronic transitions in UV-Visible spectroscopy? Explain the effect of solvents on these electronic transitions.                                                                                                      (10)

b)     How can you distinguish primary, secondary and tertiary amines using IR spectroscopy?                  (5)

c)      Write a short note on X-ray photoelectron spectroscopy.        	        	        	                                  (5)

SECTION B

Answer any four from the following questions: (Each carrying 10 Marks)

2.      Explain the principle of a) Photoluminescence spectroscopy b) Raman spectroscopy                        (5+5)

3.      a) Explain the instrumentation of NMR                                                                                               (5+5)

b) Describe the electron ionization in mass spectroscopy.

4.      Explain the instrumentation and sample preparation of HR-TEM technique.              	                       (10)

5.      Explain and differentiate the principle of TGA and DTA.                                          	                       (10)

6.      Write a note on BET surface area analysis.      	                                                        	                       (10)

********