Reg. No.									                              CODE: SPH1

PH. D COURSEWORK EXAMINATION, MAY 2023

SUBJECT: CHEMISTRY

SPECIALIZATION PAPER I - CHARACTERIZATION TECHNIQUES

Time: 03 hours						                                         Maximum Marks: 50

Student Name: Mr. Rohit Rangnath Nikam

Answer all the below questions:

- Explain the instrumental deviation from Beer’s Law viz., radiation sources, filters and monochromators, slits, cells, power supply and visual comparators.	                                      (20)

- Determine the surface area by the BET method and BJH method. Explain environmental and instrumental factors affecting the Differential thermal analysis		                          (20)

- Explain preparation of the sample cells and sampling of substances for Infrared resonance spectroscopy 									                          (10)

********